## Slide 1
Extenet Systems
3030 Warrenville Rd., Suite 340 Lisle, IL 60532
24/7 Network Operations Center
YEO.
(866) 892-5327
Network Implementation
VERYWE.
YMS
Arthur Pino
Sr. Manager - Network Engineering & Implementation apino@extenetsystems.com Mobile: (978)-804-0652
BOSTON, MA
BACK BAY DISTRIBUTED ANTENNA SYSTEM
PROPOSED 4G/LTE NODE SITES
PROPOSED COMMONWEALTH AVE EXPANSION NODE NE-MA-BSTC8C01-001
COMMONWEALTH AVE AT BERKELEY ST
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
YEO.
PROPOSED NODE POLE
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
2/28/19
LOCATION MAP
Location and Design Approved Boston Public Works
Street Lighting Department
LOCUS MAP
LATITUDE: 42.352782° LONGITUDE:-71.073718°
42° 21' 10.02" N, 71° 4' 25.38" W
SCALE: 1" = 50'
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-001.dwg
DRAFTER: CEM
ELEVATION: 11' AMSL
By:
SCALE: AS SHOWN
SCALE: 1" = 500'
1
Date:
ISSUE DATE: 10/05/18
INDEX NAME: NE-MA-BSTC8C01-001
SHEET #: 1 OF 9
10/9/18

## Slide 2
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-001.dwg
10/9/18
REV
1
DESCRIPTION
ADDED ADA SITEPLAN
4
DRAFTER: CEM
SCALE: 1" = 5'
ISSUE DATE: 10/05/18
INDEX NAME: NE-MA-BSTC8C01-001
SHEET #: 4 OF 9
NOTES:
REVISIONS
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
DATE
2/28/19
EXTENET BACK BAY BOSTON NODE NE-MA-BSTC8C01-001
PROPOSED EQUIPMENT MOUNTED ON REPLACEMENT STEEL POLE
PROPOSED OMNI ANTENNA
PHAZAR/BRSAWS360Q-698-1710-2-TOM-MD ANTENNA
(SEE DETAIL)
PROPOSED 3'-9" EXTENSION 4.5" DIAMETER
COAX FEED
COMMSCOPE LDF4-50A(1/2")
EXISTING STREET SIGN 11'-10"
EXISTING STREET SIGN 10'-11"
EXISTING ONE WAY SIGN 9'-10"
PROPOSED 11' STEEL FLUTED POLE
TAPERED DIAMETER (9" BASE 8.1" TOP)
EXISTING STREET CLEANING SIGN 7'-10"
EXISTING DO NOT ENTER SIGN 7'-8"
2 EXISTING PROFILE - REAR VIEW 2 LOOKING SOUTHWEST TOWARDS BERKELEY ST
PROPOSED PROFILE - REAR VIEW
LOOKING SOUTHWEST TOWARDS BERKELEY ST
PROPOSED WHIP ANTENNA
CUSTOM ADAPTER (SEE DETAILS)
BERKELEY ST
EXISTING PARKING SIGN 6'-3"
SEPARATE POWER TO CONTINUE TO STREETLIGHT
(2) COMMSCOPE ION-M 7P-85P-17P-19P
OPTICAL REMOTE UNITS
CONCRETE SIDEWALK
6'-3"
PROPOSED FIBER FEED
PROPOSED POWER FEED
16'-9"
11'-10"
10'-11"
9'-10"
7'-10"
BERKELEY ST
7'-8"
6'-3"
EXISTING STREET CLEANING SIGN 7'-10"
EXISTING STREET SIGN 11'-10"
EXISTING STREET SIGN 10'-11"
EXISTING ONE WAY SIGN 9'-10"
EXISTING DO NOT ENTER SIGN 7'-8"
EXISTING PARKING SIGN 6'-3"
CONCRETE SIDEWALK
11'-10"
23'-11"
18'-11"
14'-10"
10'-11"
9'-10"
7'-8"
7'-10"
3'-10" 2'
LOCATION:
BOSTON, MA SUFFOLK COUNTY

## Slide 3
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
2/28/19
DRAFTER: CEM
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-001.dwg
EXISTING PHOTOGRAPHIC VIEW PROPOSED PHOTOGRAPHIC SIMULATION
SCALE: NTS
ISSUE DATE: 10/05/18
5
INDEX NAME: NE-MA-BSTC8C01-001
SHEET #: 5 OF 9
10/9/18

## Slide 5
Extenet Systems
3030 Warrenville Rd., Suite 340 Lisle, IL 60532
24/7 Network Operations Center
YEO.
(866) 892-5327
Network Implementation
VERYWE.
YMS
Arthur Pino
Sr. Manager - Network Engineering & Implementation apino@extenetsystems.com Mobile: (978)-804-0652
BOSTON, MA
BACK BAY DISTRIBUTED ANTENNA SYSTEM
PROPOSED 4G/LTE NODE SITES
PROPOSED COMMONWEALTH AVE EXPANSION NODE NE-MA-BSTC8C01-002
COMMONWEALTH AVE AT CLARENDON ST
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PROPOSED NODE POLE
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
2/28/19
LOCATION MAP
Location and Design Approved Boston Public Works
Street Lighting Department
LOCUS MAP
LATITUDE: 42.352748° LONGITUDE:-71.076145°
42° 21' 9.89" N, 71° 4' 34.12" W
SCALE: 1" = 50'
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-002.dwg
DRAFTER: CEM
ELEVATION: 10' AMSL
By:
SCALE: AS SHOWN
SCALE: 1" = 500'
1
Date:
ISSUE DATE: 10/05/18
INDEX NAME: NE-MA-BSTC8C01-002
SHEET #: 1 OF 9
10/9/18

## Slide 6
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-002.dwg
10/9/18
REV
1
DESCRIPTION
ADDED ADA SITEPLAN
4
DRAFTER: CEM
SCALE: 1" = 5'
ISSUE DATE: 10/05/18
INDEX NAME: NE-MA-BSTC8C01-002
SHEET #: 4 OF 9
NOTES:
REVISIONS
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
DATE
2/28/19
EXTENET BACK BAY BOSTON NODE NE-MA-BSTC8C01-002
PROPOSED EQUIPMENT MOUNTED ON REPLACEMENT STEEL POLE
2 EXISTING PROFILE - REAR VIEW 2 LOOKING SOUTHWEST TOWARDS CLARENDON ST
PROPOSED PROFILE - REAR VIEW
LOOKING SOUTHWEST TOWARDS CLARENDON ST
PROPOSED OMNI ANTENNA
PHAZAR/BRSAWS360Q-698-1710-2-TOM-MD ANTENNA
(SEE DETAIL)
PROPOSED FIBER FEED
PROPOSED POWER FEED
23'-11" 18'-11" 14'-10" 10'-3"
8'-4"
8'-3"
6'-6"
3'-10" 2'
ON WAY
OPTICAL REMOTE UNITS
SEPARATE POWER TO CONTINUE TO STREETLIGHT
(2) COMMSCOPE ION-M 7P-85P-17P-19P
PROPOSED WHIP ANTENNA
CUSTOM ADAPTER (SEE DETAILS)
PROPOSED 3'-9" EXTENSION 4.5" DIAMETER
COAX FEED
COMMSCOPE LDF4-50A(1/2")
PROPOSED 11' STEEL FLUTED POLE
TAPERED DIAMETER (9" BASE 8.1" TOP)
EXISTING ONE WAY SIGN 10'-3"
EXISTING TOW ZONE SIGN 8'-4"
EXISTING DO NOT ENTER SIGN 8'-3"
EXISTING STREET CLEANING SIGN 6'-6"
CONCRETE SIDEWALK
EXISTING ONE WAY SIGN 10'-3"
EXISTING TOW ZONE SIGN 8'-4"
EXISTING DO NOT ENTER SIGN 8'-3"
EXISTING STREET CLEANING SIGN 6'-6"
ON WAY
8'-4"
8'-3"
6'-6"
CONCRETE SIDEWALK
17'
10'-3"
LOCATION:
BOSTON, MA SUFFOLK COUNTY

## Slide 7
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
2/28/19
DRAFTER: CEM
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-002.dwg
EXISTING PHOTOGRAPHIC VIEW PROPOSED PHOTOGRAPHIC SIMULATION
SCALE: NTS
ISSUE DATE: 10/05/18
5
INDEX NAME: NE-MA-BSTC8C01-002
SHEET #: 5 OF 9
10/9/18

## Slide 9
Extenet Systems
3030 Warrenville Rd., Suite 340 Lisle, IL 60532
24/7 Network Operations Center
YEO.
(866) 892-5327
Network Implementation
VERYWE.
YMS
Arthur Pino
Sr. Manager - Network Engineering & Implementation apino@extenetsystems.com Mobile: (978)-804-0652
BOSTON, MA
BACK BAY DISTRIBUTED ANTENNA SYSTEM
PROPOSED 4G/LTE NODE SITES
PROPOSED COMMONWEALTH AVE EXPANSION NODE NE-MA-BSTC8C01-003
COMMONWEALTH AVE AT DARTMOUTH ST
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PROPOSED NODE POLE
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
2/28/19
LOCATION MAP
Location and Design Approved Boston Public Works
Street Lighting Department
LOCUS MAP
LATITUDE: 42.352168° LONGITUDE:-71.078455°
42° 21' 7.8" N, 71° 4' 42.4" W
SCALE: 1" = 50'
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-003.dwg
DRAFTER: CEM
ELEVATION: 8' AMSL
By:
SCALE: AS SHOWN
SCALE: 1" = 500'
1
Date:
ISSUE DATE: 10/05/18
INDEX NAME: NE-MA-BSTC8C01-003
SHEET #: 1 OF 9
10/9/18

## Slide 10
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-003.dwg
10/9/18
REV
1
DESCRIPTION
ADDED ADA SITEPLAN
4
DRAFTER: CEM
SCALE: 1" = 5'
ISSUE DATE: 10/05/18
INDEX NAME: NE-MA-BSTC8C01-003
SHEET #: 4 OF 9
EXISTING STREET SIGN 11'-11"
8'-4"
6'-8"
NOTES:
REVISIONS
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
DATE
2/28/19
EXTENET BACK BAY BOSTON NODE NE-MA-BSTC8C01-003
PROPOSED EQUIPMENT MOUNTED ON REPLACEMENT STEEL POLE
PROPOSED OMNI ANTENNA
PHAZAR/BRSAWS360Q-698-1710-2-TOM-MD ANTENNA
(SEE DETAIL)
EXISTING STREET SIGN 11'-3"
EXISTING PARKING SIGN 8'-4"
EXISTING PARKING SIGN 6'-8"
PROPOSED 11' STEEL FLUTED POLE
TAPERED DIAMETER (9" BASE 8.1" TOP)
SEPARATE POWER TO CONTINUE TO STREETLIGHT
(2) COMMSCOPE ION-M 7P-85P-17P-19P
OPTICAL REMOTE UNITS
BRICK SIDEWALK
23'-11" 18'-11" 14'-10" 11'-11"
PROPOSED FIBER FEED
PROPOSED POWER FEED
6'-8"
8'-4"
11'-3"
3'-10" 2'
2 EXISTING PROFILE - REAR VIEW 2 LOOKING NORTHEAST TOWARDS DARTMOUTH ST
PROPOSED PROFILE - REAR VIEW
LOOKING NORTHEAST TOWARDS DARTMOUTH ST
DARTMOUTH ST
EXISTING STREET SIGN 11'-3"
EXISTING PARKING SIGN 8'-4"
EXISTING PARKING SIGN 6'-8"
BRICK SIDEWALK
PROPOSED WHIP ANTENNA
CUSTOM ADAPTER (SEE DETAILS)
PROPOSED 3'-9" EXTENSION 4.5" DIAMETER
COAX FEED
COMMSCOPE LDF4-50A(1/2")
EXISTING STREET SIGN 11'-11"
DARTMOUTH ST
16'-8"
11'-11"
11'-3"
LOCATION:
BOSTON, MA SUFFOLK COUNTY

## Slide 11
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
2/28/19
DRAFTER: CEM
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-003.dwg
EXISTING PHOTOGRAPHIC VIEW PROPOSED PHOTOGRAPHIC SIMULATION
SCALE: NTS
ISSUE DATE: 10/05/18
5
INDEX NAME: NE-MA-BSTC8C01-003
SHEET #: 5 OF 9
10/9/18

## Slide 13
Extenet Systems
3030 Warrenville Rd., Suite 340 Lisle, IL 60532
24/7 Network Operations Center
YEO.
(866) 892-5327
Network Implementation
VERYWE.
YMS
Arthur Pino
Sr. Manager - Network Engineering & Implementation apino@extenetsystems.com Mobile: (978)-804-0652
BOSTON, MA
BACK BAY DISTRIBUTED ANTENNA SYSTEM
PROPOSED 4G/LTE NODE SITES
PROPOSED COMMONWEALTH AVE EXPANSION NODE NE-MA-BSTC8C01-004
COMMONWEALTH AVE AT EXETER ST
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PROPOSED NODE POLE
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
2/28/19
LOCATION MAP
Location and Design Approved Boston Public Works
Street Lighting Department
LOCUS MAP
LATITUDE: 42.351045° LONGITUDE:-71.080171°
42° 21' 3.766" N, 71° 4' 48.612" W
SCALE: 1" = 50'
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-004.dwg
DRAFTER: CEM
ELEVATION: 9' AMSL
By:
SCALE: AS SHOWN
SCALE: 1" = 500'
1
Date:
ISSUE DATE: 10/05/18
INDEX NAME: NE-MA-BSTC8C01-004
SHEET #: 1 OF 9
10/9/18

## Slide 14
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-004.dwg
10/9/18
REV
1
DESCRIPTION
ADDED ADA SITEPLAN
4
DRAFTER: CEM
SCALE: 1" = 5'
ISSUE DATE: 12/05/17
INDEX NAME: NE-MA-BSTC8C01-004
SHEET #: 4 OF 9
NOTES:
REVISIONS
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
DATE
2/28/19
EXTENET BACK BAY BOSTON NODE NE-MA-BSTC8C01-004
PROPOSED EQUIPMENT MOUNTED ON REPLACEMENT STEEL POLE
PROPOSED OMNI ANTENNA
PHAZAR/BRSAWS360Q-698-1710-2-TOM-MD ANTENNA
(SEE DETAIL)
EXISTING STREET SIGN 12'-2"
EXETER ST
EXISTING STREET SIGN 10'-6"
EXISTING PARKING SIGN 8'-11"
2 EXISTING PROFILE - REAR VIEW 2 LOOKING SOUTHWEST TOWARDS EXETER ST
PROPOSED PROFILE - REAR VIEW
LOOKING SOUTHWEST TOWARDS EXETER ST
17'-2"
12'-2"
10'-6"
8'-11"
CONCRETE SIDEWALK
PROPOSED WHIP ANTENNA
CUSTOM ADAPTER (SEE DETAILS)
PROPOSED 3'-9" EXTENSION 4.5" DIAMETER
EXISTING STREET SIGN 12'-2"
EXETER ST
SEPARATE POWER TO CONTINUE TO STREETLIGHT
(2) COMMSCOPE ION-M 7P-85P-17P-19P
OPTICAL REMOTE UNITS
3'-10" 2'
PROPOSED FIBER FEED
PROPOSED POWER FEED
CONCRETE SIDEWALK
EXISTING STREET SIGN 10'-6"
COAX FEED
COMMSCOPE LDF4-50A(1/2")
EXISTING PARKING SIGN 8'-11"
PROPOSED 11' STEEL FLUTED POLE
TAPERED DIAMETER (9" BASE 8.1" TOP)
23'-11"
12'-2"
10'-6"
8'-11"
18'-11"
14'-10"
CONCRETE SIDEWALK
LOCATION:
BOSTON, MA SUFFOLK COUNTY

## Slide 15
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
2/28/19
DRAFTER: CEM
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-004.dwg
EXISTING PHOTOGRAPHIC VIEW PROPOSED PHOTOGRAPHIC SIMULATION
SCALE: NTS
ISSUE DATE: 12/05/17
5
INDEX NAME: NE-MA-BSTC8C01-004
SHEET #: 5 OF 9
10/9/18

## Slide 17
Extenet Systems
3030 Warrenville Rd., Suite 340 Lisle, IL 60532
24/7 Network Operations Center
YEO.
(866) 892-5327
Network Implementation
VERYWE.
YMS
Arthur Pino
Sr. Manager - Network Engineering & Implementation apino@extenetsystems.com Mobile: (978)-804-0652
BOSTON, MA
BACK BAY DISTRIBUTED ANTENNA SYSTEM
PROPOSED 4G/LTE NODE SITES
PROPOSED COMMONWEALTH AVE EXPANSION NODE NE-MA-BSTC8C01-005
COMMONWEALTH AVE AT FAIRFIELD ST
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
PROPOSED NODE POLE
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
3/1/19
LOCATION MAP
Location and Design Approved Boston Public Works
Street Lighting Department
LOCUS MAP
LATITUDE: 42.350946° LONGITUDE:-71.082731°
42° 21' 3.47" N, 71° 4' 57.83" W
SCALE: 1" = 50'
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-005.DWG
DRAFTER: CEM
ELEVATION: 11' AMSL
By:
SCALE: AS SHOWN
SCALE: 1" = 500'
1
Date:
ISSUE DATE: 10/04/18
INDEX NAME: NE-MA-BSTC8C01-005
SHEET #: 1 OF 9
10/9/18

## Slide 18
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-005.DWG
10/9/18
REV
1
DESCRIPTION
ADDED ADA SITEPLAN
4
DRAFTER: CEM
SCALE: 1" = 5'
ISSUE DATE: 10/04/18
INDEX NAME: NE-MA-BSTC8C01-005
SHEET #: 4 OF 9
NOTES:
REVISIONS
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
DATE
3/1/19
EXTENET BACK BAY BOSTON NODE NE-MA-BSTC8C01-005
PROPOSED EQUIPMENT MOUNTED ON REPLACEMENT STEEL POLE
2 EXISTING PROFILE - REAR VIEW 2 LOOKING SOUTHWEST TOWARDS FAIRFIELD ST
PROPOSED PROFILE - REAR VIEW
LOOKING SOUTHWEST TOWARDS FAIRFIELD ST
PROPOSED OMNI ANTENNA
PHAZAR/BRSAWS360Q-698-1710-2-TOM-MD ANTENNA
(SEE DETAIL)
PROPOSED WHIP ANTENNA
CUSTOM ADAPTER (SEE DETAILS)
PROPOSED 3'-9" EXTENSION 4.5" DIAMETER
EXISTING STREET SIGN 11'-11"
FAIRFIELD ST
EXISTING STREET SIGN 11'-1"
COAX FEED
COMMSCOPE LDF4-50A(1/2")
PROPOSED 11' STEEL FLUTED POLE
TAPERED DIAMETER (9" BASE 8.1" TOP)
23'-11"
18'-11"
14'-10"
11'-11"
11'-1"
3'-10" 2'
OPTICAL REMOTE UNITS
SEPARATE POWER TO CONTINUE TO STREETLIGHT
(2) COMMSCOPE ION-M 7P-85P-17P-19P
CONCRETE SIDEWALK
PROPOSED FIBER FEED
PROPOSED POWER FEED
EXISTING STREET SIGN 11'-11"
EXISTING STREET SIGN 11'-1"
CONCRETE SIDEWALK
16'-10"
11'-11"
11'-1"
FAIRFIELD ST
LOCATION:
BOSTON, MA SUFFOLK COUNTY

## Slide 19
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
3/1/19
DRAFTER: CEM
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-005.DWG
EXISTING PHOTOGRAPHIC VIEW PROPOSED PHOTOGRAPHIC SIMULATION
SCALE: NTS
ISSUE DATE: 10/04/18
5
INDEX NAME: NE-MA-BSTC8C01-005
SHEET #: 5 OF 9
10/9/18

## Slide 21
Extenet Systems
3030 Warrenville Rd., Suite 340 Lisle, IL 60532
24/7 Network Operations Center
YEO.
(866) 892-5327
Network Implementation
VERYWE.
YMS
Arthur Pino
Sr. Manager - Network Engineering & Implementation apino@extenetsystems.com Mobile: (978)-804-0652
BOSTON, MA
BACK BAY DISTRIBUTED ANTENNA SYSTEM
PROPOSED 4G/LTE NODE SITES
PROPOSED COMMONWEALTH AVE EXPANSION NODE NE-MA-BSTC8C01-006
COMMONWEALTH AVE AT GLOUCESTER ST
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PROPOSED NODE POLE
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
3/1/19
LOCATION MAP
Location and Design Approved Boston Public Works
Street Lighting Department
LOCUS MAP
LATITUDE: 42.349910° LONGITUDE:-71.084414°
42° 20' 59.676" N, 71° 5' 3.8904" W SCALE: 1" = 50'
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-006.dwg
DRAFTER: CEM
ELEVATION: 10' AMSL
By:
SCALE: AS SHOWN
SCALE: 1" = 500'
1
Date:
ISSUE DATE: 10/04/18
INDEX NAME: NE-MA-BSTC8C01-006
SHEET #: 1 OF 9
10/9/18

## Slide 22
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-006.dwg
10/9/18
REV
1
DESCRIPTION
ADDED ADA SITEPLAN
4
DRAFTER: CEM
SCALE: 1" = 5'
ISSUE DATE: 10/04/18
INDEX NAME: NE-MA-BSTC8C01-006
SHEET #: 4 OF 9
NOTES:
REVISIONS
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
DATE
3/1/19
EXTENET BACK BAY BOSTON NODE NE-MA-BSTC8C01-006
PROPOSED EQUIPMENT MOUNTED ON REPLACEMENT STEEL POLE
PROPOSED OMNI ANTENNA
PHAZAR/BRSAWS360Q-698-1710-2-TOM-MD ANTENNA
(SEE DETAIL)
PROPOSED WHIP ANTENNA
CUSTOM ADAPTER (SEE DETAILS)
PROPOSED 3'-9" EXTENSION 4.5" DIAMETER
EXISTING STREET SIGN 11'-10"
COMMONWEALTH AVE
COAX FEED
COMMSCOPE LDF4-50A(1/2")
EXISTING RESIDENT PARKING SIGN 8'-10"
PROPOSED 11' STEEL FLUTED POLE
TAPERED DIAMETER (9" BASE 8.1" TOP)
23'-11"
18'-11"
14'-10"
11'-10"
8'-10"
3'-10" 2'
OPTICAL REMOTE UNITS
SEPARATE POWER TO CONTINUE TO STREETLIGHT
(2) COMMSCOPE ION-M 7P-85P-17P-19P
CONCRETE SIDEWALK
PROPOSED FIBER FEED
PROPOSED POWER FEED
2 EXISTING PROFILE - REAR VIEW 2 LOOKING SOUTHWEST TOWARDS GLOUCESTER ST
PROPOSED PROFILE - REAR VIEW
LOOKING SOUTHWEST TOWARDS GLOUCESTER ST
8'-10"
16'-6"
11'-10"
COMMONWEALTH AVE
EXISTING STREET SIGNS 11'-10"
EXISTING RESIDENT PARKING SIGN 8'-10"
CONCRETE SIDEWALK
LOCATION:
BOSTON, MA SUFFOLK COUNTY

## Slide 23
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
3/1/19
DRAFTER: CEM
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-006.dwg
EXISTING PHOTOGRAPHIC VIEW PROPOSED PHOTOGRAPHIC SIMULATION
SCALE: NTS
ISSUE DATE: 10/04/18
5
INDEX NAME: NE-MA-BSTC8C01-006
SHEET #: 5 OF 9
10/9/18

## Slide 25
Extenet Systems
3030 Warrenville Rd., Suite 340 Lisle, IL 60532
24/7 Network Operations Center
YEO.
(866) 892-5327
Network Implementation
VERYWE.
YMS
Arthur Pino
Sr. Manager - Network Engineering & Implementation apino@extenetsystems.com Mobile: (978)-804-0652
BOSTON, MA
BACK BAY DISTRIBUTED ANTENNA SYSTEM
PROPOSED 4G/LTE NODE SITES
PROPOSED COMMONWEALTH AVE EXPANSION NODE NE-MA-BSTC8C01-007
COMMONWEALTH AVE AT HEREFORD ST
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
2
PROPOSED NODE POLE
PREPARED FOR:
1
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
3/1/19
LOCATION MAP
Location and Design Approved Boston Public Works
Street Lighting Department
LOCUS MAP
LATITUDE: 42.349995° LONGITUDE:-71.086334°
42° 20' 59.9" N, 71° 5' 10.80" W
SCALE: 1" = 50'
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-007.dwg
DRAFTER: MAC
ELEVATION: 11' AMSL
By:
SCALE: AS SHOWN
SCALE: 1" = 500'
1
Date:
ISSUE DATE: 12/05/17
INDEX NAME: NE-MA-BSTC8C01-007
SHEET #: 1 OF 9
12/11/17

## Slide 26
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-007.dwg
12/11/17
REV
1
DESCRIPTION
ADDED ADA SITEPLAN
4
DRAFTER: MAC
SCALE: 1" = 5'
ISSUE DATE: 12/05/17
INDEX NAME: NE-MA-BSTC8C01-007
SHEET #: 4 OF 9
NOTES:
REVISIONS
1
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
DATE
3/1/19
HEREFORD ST
EXTENET BACK BAY BOSTON NODE NE-MA-BSTC8C01-007
PROPOSED EQUIPMENT MOUNTED ON REPLACEMENT STEEL POLE
PROPOSED OMNI ANTENNA
PHAZAR/BRSAWS360Q-698-1710-2-TOM-MD ANTENNA
(SEE DETAIL)
PROPOSED FIBER FEED
PROPOSED POWER FEED
23'-11"
18'-11"
14'-10"
12'-4"
12'
11'-8"
9'-9"
8'-5"
7'-2"
3'-10" 2'
HEREFORD ST
OPTICAL REMOTE UNITS
SEPARATE POWER TO CONTINUE TO STREETLIGHT
(2) COMMSCOPE ION-M 7P-85P-17P-19P
PROPOSED WHIP ANTENNA
CUSTOM ADAPTER (SEE DETAILS)
PROPOSED 3'-9" EXTENSION 4.5" DIAMETER
COAX FEED
COMMSCOPE LDF4-50A(1/2")
PROPOSED 11' STEEL FLUTED POLE
TAPERED DIAMETER (9" BASE 8.1" TOP)
EXISTING STREET SIGN
EXISTING STREET SIGN
EXISTING RESIDENT PARKING SIGN
EXISTING STREET CLEANING SIGN
CONCRETE SIDEWALK
2 EXISTING PROFILE - REAR VIEW 2 LOOKING NORTHEAST FROM HEREFORD ST
PROPOSED PROFILE - REAR VIEW
LOOKING NORTHEAST FROM HEREFORD ST
9'-9"
12'
8'-5"
7'-2"
17'-4"
11'-8"
12'-4"
13'-2"
EXISTING STREET SIGN
EXISTING STREET SIGN
EXISTING RESIDENT PARKING SIGN
EXISTING STREET CLEANING SIGN
CONCRETE SIDEWALK
LOCATION:
BOSTON, MA SUFFOLK COUNTY

## Slide 27
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PREPARED FOR:
YEO.
VERYWE.
YMS
PREPARED BY:
REVISIONS
REV
DATE
DESCRIPTION
1
ADDED ADA SITEPLAN
3/1/19
DRAFTER: MAC
N:\Engineering\Extenet Systems\NE-MA-BSTC8C01-ATT\AA - AUTOCAD\NE-MA-BSTC8C01-007.dwg
EXISTING PHOTOGRAPHIC VIEW PROPOSED PHOTOGRAPHIC SIMULATION
SCALE: NTS
ISSUE DATE: 12/05/17
5
INDEX NAME: NE-MA-BSTC8C01-007
SHEET #: 5 OF 9
12/11/17

## Slide 29
EXTENET SYSTEMS
CITY OF BOSTON
SUFFOLK COUNTY, MA
1
LOCATION:
BOSTON, MA SUFFOLK COUNTY
NOTES:
PROPOSED NODE POLE
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
NODE BBX-011
LOCUS MAP
LOCATION MAP
LATITUDE: 42.349806° LONGITUDE: -71.078723°
PROJECT LOCATION - NODE BBX-011
SCALE: 1" = 500'
SCALE: 1" = 50'
Location and Design Approved Boston Public Works
Street Lighting Department
DATE
REVISIONS | 
REV | DESCRIPTION
2 | EQUIPMENT CHANGE
3 | FINAL HARDWARE UPDATE
4 | LOCATION CHANGE
5 | LOCATION CHANGE
6 | ADDED ADA PLAN
10/10/17
12/12/17
09/12/18
09/25/18
03/1/19
By:
DRAFTER: MI/EP
N:\Engineering\Extenet Systems\BA - Boston 216 Nodes\BBX - Back Bay\NPPs\AUTOCAD\NODE BBX-011 - 03-06-19.dwg
SCALE: AS SHOWN
03/7/2019
ISSUE DATE: 01/26/16
1
Date:
INDEX NAME: BBX-011
SHEET #: 1 OF 8

## Slide 30
DRAFTER: MI/EP
SCALE: 1" = 4'
ISSUE DATE: 01/26/16 3
INDEX NAME: BBX-011
SHEET #: 3 OF 8
N:\Engineering\Extenet Systems\BA - Boston 216 Nodes\BBX - Back Bay\NPPs\AUTOCAD\NODE BBX-011 - 03-06-19.dwg
03/7/2019
NOTES:
NODE BBX-011
PREPARED FOR:
PREPARED BY:
YMS
YEO.
VERYWE.
REVISIONS | 
REV | DESCRIPTION
2 | EQUIPMENT CHANGE
3 | FINAL HARDWARE UPDATE
4 | LOCATION CHANGE
5 | LOCATION CHANGE
6 | ADDED ADA PLAN
DATE
10/10/17
12/12/17
09/12/18
09/25/18
03/1/19
EXTENET DOWNTOWN BOSTON NODE BBX-011
SIDE VIEW
PROPOSED OMNI DAS ANTENNA PHAZAR/O-6002V-C2A2-D4-TOM (SEE DETAIL)
BRICK SIDEWALK
23'-5"
18'-5"
∅
15'-6"
14'-8"
11'-3"
8'-9"
7'-3"
2'
3'-10"
ROAD
PROPOSED WHIP ANTENNA
CUSTOM BRACKET (SEE DETAILS)
PROPOSED 3'-9" EXTENSION 4.5" DIAMETER
PROPOSED 11' STEEL FLUTED POLE
COAX FEED
COMMSCOPE LDF4-50A(1/2")
TAPERED DIAMETER (9" BASE 8.1" TOP)
SEPARATE POWER TO CONTINUE TO STREETLIGHT
EXISTING BANNER RODS
EXISTING PARKING METER SIGN
EXISTING PAY TO PARK SIGN
BOYLSTON ST
PROPOSED POWER FEED
PROPOSED FIBER FEED
PROPOSED CONCRETE
TRAFFIC RATED HANDHOLE
1 EXISTING PROFILE - SIDE VIEW 1 LOOKING WEST ALONG BOYLSTON ST
PROPOSED PROFILE - SIDE VIEW
LOOKING WEST ALONG BOYLSTON ST
15'-6"
7'-3"
8'-9"
11'-3"
21'-6"
EXISTING BANNER RODS
EXISTING PARKING METER SIGN
EXISTING PAY TO PARK SIGN
BRICK SIDEWALK
BOYLSTON ST
ROAD
LOCATION:
BOSTON, MA SUFFOLK COUNTY

## Slide 31
DATE
REV DESCRIPTION
DRAWING NO.
DRAFTER: NB
SCALE:
NTS
01/16/19
ISSUE DATE:
NOTES:
EXISTING PHOTOGRAPHIC VIEW
PROPOSED PHOTOGRAPHIC SIMULATION
REVISIONS
PREPARED BY:
PREPARED FOR:
YMS
YEO.
VERYWE.
INDEX NAME: NODE BBX-011
1
DRAWING TITLE:
PHOTO SIMULATION